

**Amenity and Room Size Standards**

**Housing Act 2004**

This guide includes the amenity standards required for all private rented accommodation, houses in multiple occupation (HMO’s) or parts of HMO’s either occupied by a socially interactive group (shared houses or shared flats normally subject to a joint tenancy) or by individual households living independently who either share facilities (combined bed/living rooms or bedsits) or have exclusive use of facilities (self-contained flats).

This guide also includes statutory room sizes or guidance for the size of room for properties occupied as above and including specific guidance for HMO’s where some board is provided, these properties are referred to as ‘hostels’.

**Notes**

* The amenity standards include those prescribed by The Licensing and Management of Houses in Multiple Occupation and Other Houses (Miscellaneous Provisions) (England) Regulations 2006.
* The additional amenity standards indicate how the local authority will regard how the ‘tests as to suitability for multiple occupation’ can be met under Section 65 Housing Act 2004.
* The room sizes indicate how the local authority will decide on the maximum occupation of the property under Section 64 Housing Act 2004; known as the ‘permitted number’; and also takes into account the requirements of the Licensing of Houses in Multiple Occupation (Mandatory Conditions of Licences) (England) Regulations 2018.
* The above standards need not necessarily be met on the date a licence becomes operative. Where this is not the case the licence will be issued with conditions requiring compliance with the standards within a required time period.
* All licensed HMOs will be subject to an assessment using the housing health and safety rating system under Part 1 Housing Act 2004. As a result, it is possible that there will be additional requirements to be met.
* Where reasonably practicable all HMO licensing standards must be complied with. However, every case must be considered on its own merits as Councils cannot apply a blanket set of standards for all HMOs in its district taking no account of the individual circumstances of the HMO in question. This will particularly be in respect of those standards that are not prescribed by legislation.
* The local authority may have regard to these standards when assessing the suitability of amenity standards and living space in any type of residential living accommodation (including non-licensable HMO’s) under the housing health and safety rating system under Part 1 Housing Act 2004.

**HMO MINIMUM ROOM SIZES**

**ACCOMMODATION WITH FACILITIES SHARED BY OCCUPIERS**

These standards apply where there is sharing of some or all facilities i.e. HMO’s where:

* Occupiers live independently of others e.g. single room lettings or bedsit accommodation (kitchen facilities within own room);
* Occupiers forming a group e.g. students, professional persons and others who interact socially.

|  |  |
| --- | --- |
|  | **Number of persons** |
| **Where the room is for the sole use of occupier(s)** | **1** | **2** |
| Kitchen | 4m2 | 5m2 |
| Bedroom | 6.51m2\*\*\* | 10.22m2\*\*\* |
| Combined kitchen and living room | 11m2 | 15m2 |
| Combined bedroom and living room\* | 9m2 | 14m2 |
| Combined bedroom, living room & kitchen | 13m2 | 19m2 |

|  |  |
| --- | --- |
|  | **Number of persons** |
| **Where the room is shared by occupiers** | **1-3** | **4** | **5** | **6** | **7-10** |
| Kitchen | 5m2 | 6m2 | 7m2 | 9m2 | 11m2 |
| Total communal living space\*\* | 13.5m2 | 17m2 | 18m2 | 20m2 | 27.5m2 |

\* independent living only

\*\* occupiers forming a group (includes kitchens, dining rooms and living rooms – the kitchen must be at least the minimum size specified above)

\*\*\* this is the statutory minimum room size, all other room sizes are the recommended minimum. Providing the bedroom meets the statutory minimum room size, the size of the other communal rooms will be taken into consideration when granting the licence.

**ACCOMMODATION WITH FACILITIES FOR THE EXCLUSIVE USE OF OCCUPIERS**

These standards apply where all facilities are for the exclusive use of occupiers forming a single household i.e. an individual or family (husband, wife, partner, child, stepchild, step parent, grandchild, grandparent, brother, sister, half-brother, half-sister, aunt, uncle, niece, cousin, foster child) and includes self-contained flats within HMOs.

|  |  |
| --- | --- |
|  | **Number of persons** |
|  | **1** | **2** | **3** | **4** | **5** |
| Bedroom | 6.51m2\*\*\* | 10.22m2\*\*\* |  |  |  |
| Combined bedroom and living room | 9m2 | 14m2 |  |  |  |
| Combined bedroom, living room & kitchen | 13m2 | 19m2 |  |  |  |
| Kitchen | 4m2 | 5m2 | 5m2 | 6m2 | 7m2 |
| Living Room | 8m2 | 11m2 | 11m2 | 11m2 | 11m2 |

**HOSTELS**

These standards apply to HMO’s where board is provided as part of the occupancy.

|  |  |  |
| --- | --- | --- |
|  | **Number of persons** |  |
| **For exclusive use of occupants** | **1** | **2** |  |
| Bedroom | 6.51m2\*\*\* | 10.22m2\*\*\* |  |
| Combined bedroom and living room where no separate living room is provided | 9m2 | 14m2 |  |
| Family bedroom (2 adults and 1 child under 10 years old) | 14.5 m2 or 18.5 m2 where no separate living room is provided |

|  |  |
| --- | --- |
|  | **Number of persons** |
| **For shared use of occupants** | **1-3** | **4** | **5** | **6** | **7-10** |
| Kitchen (all main meals\* not provided) | 5m2 | 6m2 | 7m2 | 9m2 | 11m2 |
| Kitchen (all main meals provided) | 5m2 | 5m2 | 5m2 | 5m2 | 7m2 |
| Communal living room (not required if individual bedroom and living room meet the standard above) | 8.5m2 | 11m2 | 11m2 | 11m2 | 16.5m2 |
| **11-15** | **16 or more** |
| 21.5m2 | At discretion of Local Authority |

\* three meals a day (to be provided each day of the week)

**Note**

All habitable rooms, kitchens, bathrooms and toilet compartments shall have a minimum floor to ceiling height of 2.14m, except in the case of existing attic rooms, which shall have a minimum height of 2.14m over an area of the floor equal to not less than three quarters of the area of the room, measured on a plane 1.53m above the floor. Any floor area above which the ceiling height is less than 1.53m shall additionally be disregarded.

|  |
| --- |
| **HMO STANDARDS****FOR FACILITIES PROVIDED FOR SHARED AND EXCLUSIVE USE** |
| **Personal washing and toilet facilities** |
| Location, size and condition | General | All facilities should be located in rooms of an adequate size and layout within one floor distant of any bedroom and accessible from communal areas unless provided as en-suite facilities for the exclusive use of that occupant. Facilities must be inside the building.All baths or showers, toilets and wash hand basins should be of an adequate size and be provided with an adequate water supply, necessary fittings, drainage and be in a satisfactory condition to enable thorough cleaning. Constant hot and cold running water at a suitable temperature to be provided to baths / showers and wash basins. Baths or showers and wash hand basins should be properly sealed into wall surfaces and have 300mm of tiled (or equivalent impervious material) splashback. Bathrooms and toilet compartments should be of an adequate size and layout. |
| Baths or showers and toilets | Shared use | There must be at least one complete bathroom suite per 5 occupants sharing i.e. one fixed bath or shower and toilet with wash hand basin for every 5 occupants. Toilet should be situated in separate compartment to bath or shower. In hostels where children are accommodated at least one bath should be provided. |
| Exclusive use | A fixed bath or shower, a toilet and washbasin. |
| Wash hand basins | Shared use | To be provided either within each individual unit of accommodation or within each shared bathroom and compartment containing a toilet. |
| Exclusive use | Within each room where appropriate and within each compartment containing a toilet. |
| Ventilation | General | Bathrooms to be ventilated directly to the external air by a window which has an openable area not less than 1/20th of the floor area OR have mechanical ventilation to the outside air at a minimum extraction rate of 60 litres/second, operated from the lighting circuit of the room and fitted with a 20 minute overrun. Mechanical extraction may be required in addition to any window if there is a problem with condensation or mould growth. Each toilet in a separate compartment is required to have a window equivalent to 1/20th of the floor area or mechanical ventilation extracting at a minimum extraction rate of 15 litres/second.Ventilation should not be obstructed externally. |
| Heating | General | A fixed heating appliance in each bath or shower room sufficient to minimise condensation and provide thermal comfort. |
| **Kitchens** |
| Location, size and condition | General | If kitchens do not have a suitable dining area this facility must be provided within one floor distant (this may be a living room, bedsit or bedroom of suitable size – see standards for room sizes).If hostels provide all main meals the kitchen facilities below are to be provided for every 10 occupants and the cooker can be replaced with a microwave. If hostels have a commercial kitchen where access is not available at all times a separate kitchen must be provided to the standards below.Kitchens must have a safe and efficient layout and be of a suitable size – see standards for room sizes.All facilities and equipment must be fit for purpose. |
| Sinks | Shared use | A sink with constant hot and cold water, a draining board and tiled (or equivalent impervious material) splash back for up to 5 occupants (a dishwasher will be acceptable as a second sink) or within an individual unit of accommodation. |
| Exclusive use | A sink with constant hot and cold water, tiled (or equivalent impervious material) splash back and a draining board. |
| Cookers | Shared use | A cooker with a 4 ring hob, oven and a grill for up to 5 occupants or within an individual unit of accommodation (a 27 litre combination microwave – one which consists of a microwave, convection oven and a grill – will be acceptable as a second cooker). |
| Exclusive use | A cooker with a 4 ring hob, oven and a grill.A cooker with a 4 ring hob, oven and a grill, or a combination microwave/oven/grill together with a two ring hob positioned so that the hobs are at worktop height level will be acceptable in accommodation occupied by a single person.  |
| Electrical Sockets | General | Four suitably positioned electric sockets for up to 5 occupants are required plus one per major appliance (i.e. a cooker microwave, refrigerator/freezer, washing machine etc.). |
| Worktop | Shared use | Fixed worktop(s) with a smooth impervious surface for food preparation, minimum size 500mm x 3000mm for up to 5 occupants or within an individual unit of accommodation. |
| Exclusive use | Fixed worktop(s) with a smooth impervious surface for food preparation, minimum size 500mm x 1000mm |
| Storage | Shared use | A 0.3m3 dry goods storage cupboard other than a sink base unit per occupier either in each occupant’s room or in a shared kitchen. |
| Exclusive use | A 0.6m3 dry goods storage cupboard other than a sink base unit. |
| Refrigerators | Shared use | A minimum of two worktop height refrigerators with freezer compartments or 1 worktop height fridge and 1 worktop height freezer per 5 occupants or a worktop height refrigerator with a freezer compartment within each individual unit of accommodation (or equivalent). |
| Exclusive use | A minimum of a worktop height refrigerator with a freezer compartment (or equivalent). |
| Refuse | General | Suitable and sufficient provision for household waste and recycling storage and disposal both within the unit of accommodation and outside. |
| Ventilation | Shared use | Mechanical ventilation to the outside air at a minimum extraction rate of 60 litres/second or 30 litres/second if the fan is an overhead extractor. This is in addition to any windows. |
| **Fire precautions (shared houses and bedsit accommodation)** |
| Provide fire precaution facilities and equipment to reduce fire risk and to ensure the safety of people in the premises as far as is practicable in accordance with the LACoRS (Local Authorities Coordinators of Regulatory Services) publication “Housing – Fire Safety. Guidance on fire safety provisions for certain types of existing housing.”This provision must include:A fire blanket conforming to the latest British Standard. The blanket must be wall mounted, ideally 1.5m away from the cooker near to the exit door in each kitchen area.A FD30 fire door to be provided to each shared kitchen and FD30(S) to the living room. For up to 2 storey HMOs other than bedsit accommodation, to all other rooms a sound, well constructed close fitting conventional door is acceptable. NB this does not include a hollow infill-type door (‘egg box’).All locks on doors onto the means of escape and final exit doors to be capable of being opened from the inside without the use of a key. |
| In addition, provide the following:(NB the fire detection and emergency lighting requirement below may be in excess of what is needed following a fire risk assessment and, in some cases, additional fire provisions may be needed; for example fire doors on bedsit accommodation and to bedrooms in larger properties). |
| Fire detection(shared accommodation – not bedsits | A Category LD3 Grade A or D fire detection system conforming to BS5839: Part 6:2019 (a Grade A system will be required for properties occupied by 7 or more persons). The system will normally include interlinked smoke detection in the circulation areas at each floor level, heat detection in kitchens, smoke detection in lounges and any cellar. Grade D detectors should have integral battery back-up. A sound level of 75dBA should be reached at bedheads.For 5 and 6 storey properties a Category LD2 Grade A system will be required. |
| Fire detection(bedsit accommodation) | A Category LD2 Grade A or D fire detection system conforming to BS5839: Part 6:2019 (a Grade A system will be required for properties occupied by 7 or more persons and 3 or more storey properties). The system will normally include interlinked smoke detection in the circulation areas at each floor level, heat detection in kitchens and bedsits with cooking facilities, smoke detection in bedsits without cooking facilities, shared lounges and any cellar. An additional Grade D non-interlinked smoke detector with integral battery back-up will be required in bedsits with cooking facilities. A sound level of 75dBA should be reached at bedheads. |
| Fire detection (individually owned flat in house/block) | In addition to the above, provide a heat detector in the room/lobby opening onto the escape route linked to the fire detection system in the common parts. |
| Emergency lighting (3 and 4 storey HMOs) | An emergency lighting system to BS 5266:1:2016. |
| Fire blanket | A fire blanket conforming to the latest British Standard. The blanket must be wall mounted, ideally 1.5m away from the cooker near to the exit door in each kitchen area. |
| Fire doors | A FD30 fire door to be provided to each shared kitchen and FD30(S) to the living room. For up to 2 storey HMOs other than bedsit accommodation, to all other rooms a sound, well constructed close fitting conventional door is acceptable. NB this does not include a hollow infill-type door (‘egg box’). |
| Security locks | All locks on doors onto the means of escape and final exit doors to be capable of being opened from the inside without the use of a key. |
| **Fire precautions (buildings converted entirely into self-contained flats)** |
| Follow LACoRS publication “Housing – Fire Safety. Guidance on fire safety provisions for certain types of existing housing.” |
| **Heating** |
| Fixed heating | General | A fixed and efficient heating appliance(s) capable of maintaining a temperature of 21oC with an outside temperature of -3oC in each unit of living accommodation (electrical appliances must have a dedicated socket). Heating should be available at all times and be under the control of the occupier to include timer & thermostatic controls. |
| **Access** |
| All facilities are to be available at all times and be internally accessed from all bedrooms and bedsitting rooms. |
| **Definitions** |
| Shared use | Where one or more basic amenities (personal washing, toilet or kitchen) are shared by two or more households. |
| Exclusive use | Where a basic amenity is provided for the use of a single household. |
| Bedsit accommodation | Accommodation occupied by person(s) living independently of others in the HMO, cooking facilities may be in the room or shared. |
| Single household | Person(s) of the same family group, this includes an individual living on their own, an individual living in a group is also regarded as a single household. |
| Family | Includes husband, wife, partner, child, stepchild, step parent, grandchild, grandparent, brother, sister, half-brother, half-sister, aunt, uncle, niece, cousin, foster child. |
| Unit of living accommodation | Part of the HMO occupied by a single household, this includes bedrooms in shared houses or flats, bedsitting rooms, self-contained flats (all basic amenities provided for exclusive use of that household). |
| Hostel | Where board is provided as part of the occupation and it constitutes a persons only or main place of residence. Hostel includes bed and breakfast and hotel accommodation used by persons as their only and main residence, which is a house in multiple occupation. |